## Sheet1
type | make | model | name | unit | class | description
6 | JHU | ST-1 | JHUSoilTemp | degC | external | Measures soil temperature via a 0.5% YSI 40006 NTC thermistor and a 0.1% 10kohm resistor
7 | Decagon | ECH2O-5 | DecagonSWC |  | external | ECHO5 moisture using a high frequency oscillator. Generates a DC signal related to the soil dielectric constant. A calibration then translates this value to a volumentric water content.
8 | Telaire | ??? | CO2 | ??? | external | A CO2 sensor with an analog and a digital interface (UART).
9 | Sensirion | SHT11/SHT15 | TelosBoxTemp | degC | internal | The SHT11/SHT15 sensor are calibrated and produce a digital output. The calibration coefficients are stored in the sensorÆs onboard EEPROM.The sensor is produced using a CMOS process and is coupled with a 14-bit A/D converter.
10 | Sensirion | SHT11/SHT15 | TelosBoxHum | %RH | internal | The SHT11/SHT15 sensor are calibrated and produce a digital output. The calibration coefficients are stored in the sensorÆs onboard EEPROM.The sensor is produced using a CMOS process and is coupled with a 14-bit A/D converter.The low power relative humidity sensor is small in size and may be used for a variety of environmental monitoring applications
11 | Hamamatsu | photoctive | TelosPAR | lumens uncalibrated | internal | Moteiv uses Hamamatsu S1087 diode for sensing photosynthetically active radiation
12 | Hamamatsu | photodiode | TelosTSR | lumens uncalibrated | internal | Moteiv uses Hamamatsu S1087-01 diode for sensing the entire visible spectrum
13 | Moteiv | battery | TelosBV | V | internal | Built in battery monitor from Telos
14 | Moteiv | voltage | TelosRV | volts | internal | The voltage port (input 11) on the 12-bit ADC monitors the output from a voltage divider
15 | Vaisala | voltage | GMP222-C02 | ppm | external | Vaisala CARBOCAP Sensor - the silicon-based NDIR sensor. Range 0-10000 ppm
16 | Vaisala | voltage | GMT221-CO2 | ppm | external | Vaisala CARBOCAP Sensor - the silicon-based NDIR sensor. Range 0-20000 ppm

## site
Siteid
2