## Slide 1: Set Up
NIST was validated
Using another
thermometer

## Slide 2: New Calibration
RMSE : 0.16

## Slide 3: Old Calibration
RMSE : 0.599

## Slide 4: Compare

## Slide 5: Difference between two calibrations
Chart: 

## Slide 6: Fit Comparison
Chart: ADC